## VRM data export
timestamp | Gateway [0] | Gateway [0] | Gateway [0] | Gateway [0] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Battery Monitor [512] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [258] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | Solar Charger [260] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [261] | Grid meter [30] | Grid meter [30] | Grid meter [30]
Africa/Johannesburg (+02:00) | VRM Log time offset | ESS Scheduled Charging | Relay 1 state | CCGX Relay 2 state | Phase rotation | Input voltage phase 1 | Input current phase 1 | Input frequency 1 | Input power 1 | Output voltage phase 1 | Output current phase 1 | Output frequency | Output power 1 | Voltage | Current | Active input | Active input current limit | VE.Bus state | VE.Bus Error | Switch Position | Temperature | Low battery | Overload | Temperatur sensor alarm | Voltage sensor alarm | High DC Ripple | Temperature L1 | Low battery L1 | Overload L1 | High DC Ripple L1 | Temperature L2 | Low battery L2 | Overload L2 | High DC Ripple L2 | Temperature L3 | Low battery L3 | Overload L3 | High DC Ripple L3 | Charge state | Voltage | Current | Battery temperature | State of charge | State of health | CVL - Charge Voltage Limit | CCL - Charge Current Limit | DCL - Discharge Current Limit | Low voltage alarm | High voltage alarm | Low battery temperature alarm | High battery temperature alarm | Cell Imbalance alarm | High charge current alarm | High discharge current alarm | High charge temperature alarm | Low charge temperature alarm | Internal error alarm | Voltage | Current | Battery watts | Load state | Charger on/off | Charge state | PV voltage | PV power | MPPT State | Yield today | Maximum charge power today | Yield yesterday | Maximum charge power yesterday | Error code | User yield | Voltage | Current | Battery watts | Load state | Charger on/off | Charge state | PV voltage | PV power | MPPT State | Yield today | Maximum charge power today | Yield yesterday | Maximum charge power yesterday | Error code | User yield | #1 Low SOC; discharge disabled | #2 BatteryLife is active | #3 Charge disabled by BMS | #4 Discharge disabled by BMS | #5 Slow charge is active | #6 Charge disabled by user setting | #7 Discharge disabled by user setting | PV - DC-coupled | AC Consumption L1 | Grid L1 | Voltage | Current | VE.Bus charge current | Battery Power | VE.Bus charge power | Battery SOC | Battery state | DVCC Multiple batteries alarm | GX Error #48 DVCC with incompatible firmware | No grid meter alarm | AC-Input | Grid alarm | Grid L1 - Power | Grid meter voltage L1 | Grid meter current L1
| s |  |  |  |  | V | A | Hz | W | V | A | Hz | W | V | A |  | A | [22 empty] | V | A | C | % | % | V | A | A | [10 empty] | V | A | W |  |  |  | V |  |  | kWh | W | kWh | W |  | kWh | V | A | W |  |  |  | V |  |  | kWh | W | kWh | W |  | kWh | [7 empty] | W | W | W | V | A | A | W | W | % | [6 empty] | W | V | A
2023-05-28 13:54:04 | 0 | Not active | Open | Open | Ok | 231.9 | -2.2 | 50.1 | 36 | 231.9 | 2.5 | 50 | 1106 | 52.38 | -21.1 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 16.8 | 880 | On | On | Ext. Control | 114.92 | 895 | Voltage or current limited | 7.02 | 1901 | 6.1 | 2164 | No error | 12020.67 | 52.39 | 6.5 | 341 | On | On | Ext. Control | 120.58 | 350 | Voltage or current limited | 7.44 | 2167 | 6.45 | 2295 | No error | 14857.37 | Off | Off | Off | Off | Off | Off | Off | 1221 | 1122 | 52 | 52.71 | 0 | -21.1 | 0 | -1070 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 11 | 232.9 | 2.7
2023-05-28 13:55:05 | 0 | Not active | Open | Open | Ok | 232.7 | 2.4 | 50.36 | 17 | 232.7 | 7.2 | 50.2 | 968 | 52.38 | -21.7 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0.1 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 16.6 | 870 | On | On | Ext. Control | 115.05 | 869 | Voltage or current limited | 7.03 | 1901 | 6.1 | 2164 | No error | 12020.68 | 52.38 | 6.5 | 340 | On | On | Ext. Control | 120.57 | 338 | Voltage or current limited | 7.45 | 2167 | 6.45 | 2295 | No error | 14857.38 | Off | Off | Off | Off | Off | Off | Off | 1210 | 968 | -15 | 52.71 | 0.1 | -21.7 | 5 | -951 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 85 | 233.6 | -0.1
2023-05-28 13:56:04 | 1 | Not active | Open | Open | Ok | 232.7 | -1.2 | 50.36 | 1 | 232.7 | 3.1 | 50.1 | 964 | 52.39 | -19.5 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.37 | 16.3 | 854 | On | On | Ext. Control | 115.02 | 860 | Voltage or current limited | 7.05 | 1901 | 6.1 | 2164 | No error | 12020.7 | 52.38 | 6.7 | 351 | On | On | Ext. Control | 120.39 | 351 | Voltage or current limited | 7.45 | 2167 | 6.45 | 2295 | No error | 14857.38 | Off | Off | Off | Off | Off | Off | Off | 1205 | 1065 | 102 | 52.71 | 0 | -19.5 | 0 | -963 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 63 | 233.4 | 0.1
2023-05-28 13:57:04 | 1 | Not active | Open | Open | Ok | 232.7 | 1.4 | 50.36 | -36 | 232.7 | 5.7 | 50.2 | 949 | 52.42 | -19.6 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.72 | 0.2 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 19 | 995 | On | On | Ext. Control | 113.49 | 1003 | Voltage or current limited | 7.07 | 1901 | 6.1 | 2164 | No error | 12020.72 | 52.39 | 4.1 | 215 | On | On | Ext. Control | 121.36 | 223 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1210 | 1087 | 102 | 52.72 | 0.2 | -19.6 | 10 | -985 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 85 | 233.3 | 3
2023-05-28 13:58:04 | 0 | Not active | Open | Open | Ok | 232.7 | -2.2 | 50.36 | 15 | 232.7 | 2.5 | 50.2 | 1000 | 52.35 | -22.1 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.7 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 20.7 | 1084 | On | On | Ext. Control | 112.61 | 1106 | Voltage or current limited | 7.08 | 1901 | 6.1 | 2164 | No error | 12020.73 | 52.38 | 1.8 | 94 | On | On | Ext. Control | 122.32 | 98 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1179 | 1000 | 14 | 52.7 | 0 | -22.1 | 0 | -985 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 14 | 233.4 | 2.3
2023-05-28 13:59:04 | 0 | Not active | Open | Open | Ok | 232.7 | -2 | 50.1 | 18 | 232.7 | 2.8 | 50 | 982 | 52.37 | -22.1 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0.6 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 21.7 | 1137 | On | On | Ext. Control | 111.99 | 1163 | Voltage or current limited | 7.1 | 1901 | 6.1 | 2164 | No error | 12020.75 | 52.39 | 1.8 | 94 | On | On | Ext. Control | 122.2 | 101 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1252 | 982 | -5 | 52.71 | 0.6 | -19.1 | 31 | -952 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -9 | 233 | -2.5
2023-05-28 14:00:04 | 1 | Not active | Open | Open | Ok | 232.7 | 1.2 | 50.1 | 10 | 232.7 | 5.4 | 50.1 | 960 | 52.38 | -19.3 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.7 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 20.3 | 1063 | On | On | Ext. Control | 113.01 | 1086 | Voltage or current limited | 7.12 | 1901 | 6.1 | 2164 | No error | 12020.77 | 52.38 | 0.6 | 31 | On | On | Ext. Control | 122.76 | 35 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1090 | 993 | 37 | 52.7 | 0 | -19.1 | 0 | -956 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 24 | 233 | 0.2
2023-05-28 14:01:04 | 1 | Not active | Open | Open | Ok | 231.9 | 3.2 | 50.36 | -32 | 231.9 | 7.6 | 50.2 | 1046 | 52.4 | -19.6 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.7 | -1.5 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 21.7 | 1137 | On | On | Ext. Control | 112.17 | 1161 | Voltage or current limited | 7.14 | 1901 | 6.1 | 2164 | No error | 12020.79 | 52.39 | 0.8 | 42 | On | On | Ext. Control | 122.68 | 45 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1174 | 1134 | 56 | 52.7 | -1.5 | -19.6 | -79 | -1078 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 78 | 234.4 | 2.7
2023-05-28 14:02:04 | 0 | Not active | Open | Open | Ok | 232.7 | -1.8 | 50.36 | 40 | 232.7 | 2.6 | 50.2 | 1062 | 52.38 | -20.5 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.69 | -0.5 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 21.7 | 1137 | On | On | Ext. Control | 112.1 | 1163 | Voltage or current limited | 7.16 | 1901 | 6.1 | 2164 | No error | 12020.81 | 52.38 | 0.4 | 21 | On | On | Ext. Control | 122.8 | 21 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1147 | 1062 | 17 | 52.69 | -0.5 | -20.5 | -26 | -1022 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 3 | 232.5 | 2.5
2023-05-28 14:03:04 | 0 | Not active | Open | Open | Ok | 231.9 | 2.4 | 50.36 | 37 | 231.9 | 7 | 50.2 | 1032 | 52.37 | -21.3 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | -0.2 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 22.2 | 1163 | On | On | Ext. Control | 111.77 | 1183 | Voltage or current limited | 7.18 | 1901 | 6.1 | 2164 | No error | 12020.83 | 52.37 | 0 | 0 | On | On | Ext. Control | 122.92 | 0 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1152 | 989 | 28 | 52.71 | -0.2 | -19.5 | -10 | -961 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 29 | 232.4 | 2.2
2023-05-28 14:04:04 | 0 | Not active | Open | Open | Ok | 231.9 | -1.6 | 50.36 | -22 | 231.9 | 2.8 | 50.1 | 952 | 52.36 | -20.4 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.7 | -0.2 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.37 | 22.4 | 1173 | On | On | Ext. Control | 111.74 | 1189 | Voltage or current limited | 7.2 | 1901 | 6.1 | 2164 | No error | 12020.85 | 52.38 | 0 | 0 | On | On | Ext. Control | 122.93 | 0 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1142 | 985 | 3 | 52.7 | -0.2 | -20 | -10 | -960 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | -38 | 232.9 | 0.2
2023-05-28 14:05:04 | 1 | Not active | Open | Open | Ok | 231 | -1.8 | 50.1 | -14 | 231 | 2.6 | 49.8 | 982 | 52.4 | -19.7 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.7 | 0.2 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 22.4 | 1173 | On | On | Ext. Control | 111.85 | 1182 | Voltage or current limited | 7.22 | 1901 | 6.1 | 2164 | No error | 12020.87 | 52.39 | 0 | 0 | On | On | Ext. Control | 122.93 | 0 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1153 | 1016 | 20 | 52.7 | 0.2 | -19.7 | 10 | -996 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 4 | 231.8 | 0.7
2023-05-28 14:06:04 | 1 | Not active | Open | Open | Ok | 232.7 | 1.4 | 50.1 | 0 | 232.7 | 5.6 | 50 | 952 | 52.38 | -19.6 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.69 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 21.1 | 1105 | On | On | Ext. Control | 112.43 | 1141 | Voltage or current limited | 7.23 | 1901 | 6.1 | 2164 | No error | 12020.88 | 52.38 | 0 | 0 | On | On | Ext. Control | 122.93 | 0 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1105 | 956 | 4 | 52.69 | 0 | -19.6 | 0 | -952 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 8 | 232.9 | 0.1
2023-05-28 14:07:04 | 0 | Not active | Open | Open | Ok | 231.9 | -1.2 | 50.1 | 13 | 231.9 | 2.8 | 50 | 923 | 52.38 | -18 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 20.2 | 1058 | On | On | Ext. Control | 113.05 | 1078 | Voltage or current limited | 7.25 | 1901 | 6.1 | 2164 | No error | 12020.9 | 52.39 | 0 | 0 | On | On | Ext. Control | 122.89 | 0 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1058 | 942 | 32 | 52.71 | 0 | -18 | 0 | -910 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 55 | 232.9 | 0.2
2023-05-28 14:08:04 | 0 | Not active | Open | Open | Ok | 231 | -1.4 | 49.85 | -215 | 231 | 3.8 | 49.7 | 965 | 52.36 | -23.8 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | -0.5 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 25.8 | 1352 | On | On | Ext. Control | 109.23 | 1382 | Voltage or current limited | 7.27 | 1901 | 6.1 | 2164 | No error | 12020.92 | 52.38 | 0 | 0 | On | On | Ext. Control | 122.93 | 0 | Voltage or current limited | 7.46 | 2167 | 6.45 | 2295 | No error | 14857.39 | Off | Off | Off | Off | Off | Off | Off | 1352 | 1335 | 155 | 52.71 | -0.5 | -23.8 | -26 | -1180 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 215 | 231.9 | 0.6
2023-05-28 14:09:04 | 0 | Not active | Open | Open | Ok | 231 | -5.5 | 49.85 | -1200 | 231 | 4 | 49.7 | 964 | 52.35 | -44.3 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 1.1 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.36 | 32.8 | 1717 | On | On | Ext. Control | 95.69 | 1763 | Voltage or current limited | 7.3 | 1901 | 6.1 | 2164 | No error | 12020.95 | 52.39 | 15.7 | 823 | On | On | Ext. Control | 115.04 | 844 | Voltage or current limited | 7.47 | 2167 | 6.45 | 2295 | No error | 14857.4 | Off | Off | Off | Off | Off | Off | Off | 2540 | 2144 | -20 | 52.71 | 1.1 | -44.3 | 57 | -2164 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -12 | 231.7 | -0.4
2023-05-28 14:10:04 | 1 | Not active | Open | Open | Ok | 235.2 | -3.5 | 49.85 | -776 | 235.2 | 3.9 | 49.8 | 964 | 52.39 | -34.5 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.74 | 0.3 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.37 | 29.5 | 1545 | On | On | Ext. Control | 105.79 | 1574 | Voltage or current limited | 7.33 | 1901 | 6.1 | 2164 | No error | 12020.98 | 52.39 | 8 | 419 | On | On | Ext. Control | 119.63 | 431 | Voltage or current limited | 7.48 | 2167 | 6.45 | 2295 | No error | 14857.41 | Off | Off | Off | Off | Off | Off | Off | 1964 | 1770 | 30 | 52.74 | 0.3 | -34.5 | 15 | -1740 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 26 | 235.6 | 0.2
2023-05-28 14:11:04 | 1 | Not active | Open | Open | Ok | 234.4 | -3.9 | 50.1 | -767 | 234.4 | 4.4 | 49.8 | 1099 | 52.38 | -38.2 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0.1 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.37 | 31.5 | 1650 | On | On | Ext. Control | 102.81 | 1684 | Voltage or current limited | 7.36 | 1901 | 6.1 | 2164 | No error | 12021.01 | 52.38 | 9.6 | 503 | On | On | Ext. Control | 118.92 | 515 | Voltage or current limited | 7.49 | 2167 | 6.45 | 2295 | No error | 14857.42 | Off | Off | Off | Off | Off | Off | Off | 2153 | 1875 | 9 | 52.71 | 0.1 | -38.2 | 5 | -1866 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 18 | 235.7 | 1.7
2023-05-28 14:12:04 | 0 | Not active | Open | Open | Ok | 236 | -3.9 | 50.1 | -794 | 236 | 4.2 | 49.8 | 1200 | 52.38 | -38.2 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.73 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 31.7 | 1661 | On | On | Ext. Control | 101.89 | 1704 | Voltage or current limited | 7.38 | 1901 | 6.1 | 2164 | No error | 12021.03 | 52.39 | 10 | 524 | On | On | Ext. Control | 118.82 | 546 | Voltage or current limited | 7.5 | 2167 | 6.45 | 2295 | No error | 14857.43 | Off | Off | Off | Off | Off | Off | Off | 2185 | 1994 | 7 | 52.73 | 0 | -39.9 | 0 | -1987 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | -18 | 236.3 | 2.6
2023-05-28 14:13:04 | 0 | Not active | Open | Open | Ok | 234.4 | -3.7 | 49.85 | -760 | 234.4 | 4.5 | 49.8 | 1094 | 52.4 | -38.7 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.74 | -0.2 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 29.1 | 1524 | On | On | Ext. Control | 106.28 | 1559 | Voltage or current limited | 7.41 | 1901 | 6.1 | 2164 | No error | 12021.06 | 52.4 | 12.5 | 655 | On | On | Ext. Control | 117.32 | 666 | Voltage or current limited | 7.51 | 2167 | 6.45 | 2295 | No error | 14857.44 | Off | Off | Off | Off | Off | Off | Off | 2179 | 1870 | 16 | 52.74 | -0.2 | -38.7 | -10 | -1854 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 16 | 235.8 | 1.8
2023-05-28 14:14:04 | 0 | Not active | Open | Open | Ok | 233.5 | -4.1 | 49.85 | -817 | 233.5 | 4.2 | 49.7 | 1108 | 52.38 | -38.5 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.72 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 28.8 | 1509 | On | On | Ext. Control | 106.57 | 1540 | Voltage or current limited | 7.44 | 1901 | 6.1 | 2164 | No error | 12021.09 | 52.39 | 12.3 | 644 | On | On | Ext. Control | 117.28 | 666 | Voltage or current limited | 7.52 | 2167 | 6.45 | 2295 | No error | 14857.45 | Off | Off | Off | Off | Off | Off | Off | 2163 | 1999 | 8 | 52.72 | 0 | -39.1 | 0 | -1991 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 27 | 234.8 | 1.8
2023-05-28 14:15:04 | 1 | Not active | Open | Open | Ok | 234.4 | -4.1 | 50.1 | -817 | 234.4 | 4.2 | 49.8 | 1084 | 52.39 | -38.8 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 31.1 | 1629 | On | On | Ext. Control | 102.73 | 1664 | Voltage or current limited | 7.46 | 1901 | 6.1 | 2164 | No error | 12021.11 | 52.39 | 10.7 | 561 | On | On | Ext. Control | 118.32 | 573 | Voltage or current limited | 7.53 | 2167 | 6.45 | 2295 | No error | 14857.46 | Off | Off | Off | Off | Off | Off | Off | 2195 | 1953 | 52 | 52.71 | 0 | -38.8 | 0 | -1901 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 56 | 235.8 | 2.2
2023-05-28 14:16:04 | 0 | Not active | Open | Open | Ok | 234.4 | -4.5 | 50.1 | -815 | 234.4 | 4 | 49.8 | 1105 | 52.38 | -39.3 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.73 | 0 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 29.9 | 1566 | On | On | Ext. Control | 104.52 | 1609 | Voltage or current limited | 7.49 | 1901 | 6.1 | 2164 | No error | 12021.14 | 52.4 | 12.7 | 665 | On | On | Ext. Control | 117.1 | 660 | Voltage or current limited | 7.54 | 2167 | 6.45 | 2295 | No error | 14857.47 | Off | Off | Off | Off | Off | Off | Off | 2216 | 1938 | 18 | 52.73 | 0 | -39.3 | 0 | -1920 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 35 | 234.9 | 2.7
2023-05-28 14:17:04 | 0 | Not active | Open | Open | Ok | 234.4 | -4.1 | 49.85 | -839 | 234.4 | 4.3 | 49.7 | 1120 | 52.38 | -38.4 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.73 | 0.2 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.38 | 28.9 | 1514 | On | On | Ext. Control | 106.14 | 1551 | Voltage or current limited | 7.52 | 1901 | 6.1 | 2164 | No error | 12021.17 | 52.39 | 12.6 | 660 | On | On | Ext. Control | 117.09 | 677 | Voltage or current limited | 7.55 | 2167 | 6.45 | 2295 | No error | 14857.48 | Off | Off | Off | Off | Off | Off | Off | 2195 | 1970 | 11 | 52.73 | 0.2 | -38.4 | 10 | -1959 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 23 | 234.6 | 1.9
2023-05-28 14:18:05 | 0 | Not active | Open | Open | Ok | 233.5 | -4.1 | 49.85 | -839 | 233.5 | 4.3 | 49.7 | 1143 | 52.39 | -39.2 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.73 | 0.1 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.4 | 29.1 | 1525 | On | On | Ext. Control | 105.95 | 1557 | Voltage or current limited | 7.54 | 1901 | 6.1 | 2164 | No error | 12021.19 | 52.4 | 12.7 | 665 | On | On | Ext. Control | 117.05 | 685 | Voltage or current limited | 7.56 | 2167 | 6.45 | 2295 | No error | 14857.49 | Off | Off | Off | Off | Off | Off | Off | 2196 | 1989 | 7 | 52.73 | 0.1 | -39.2 | 5 | -1982 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 20 | 234.4 | 1.9
2023-05-28 14:18:56 | 1 | Not active | Open | Open | Ok | 233.5 | -5.5 | 49.85 | -802 | 233.5 | 9.9 | 49.8 | 2739 | 51.43 | -76 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51.97 | -32.4 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 51.43 | 32.6 | 1677 | On | On | Ext. Control | 91.67 | 1722 | MPPT active | 7.56 | 1901 | 6.1 | 2164 | No error | 12021.21 | 51.43 | 17.9 | 921 | On | On | Ext. Control | 113.21 | 837 | MPPT active | 7.58 | 2167 | 6.45 | 2295 | No error | 14857.51 | Off | Off | Off | Off | Off | Off | Off | 2579 | 3611 | 70 | 51.99 | -31.3 | -76 | -1627 | -3541 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 44 | 234.2 | 4.3
2023-05-28 14:19:04 | 2 | Not active | Open | Open | Ok | 233.5 | -3.9 | 49.85 | -905 | 233.5 | 4.5 | 49.7 | 1132 | 51.73 | -38.8 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 52.03 | 1.9 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 51.8 | 32.5 | 1684 | On | On | Ext. Control | 98.57 | 1682 | MPPT active | 7.57 | 1901 | 6.1 | 2164 | No error | 12021.22 | 51.8 | 15.2 | 787 | On | On | Ext. Control | 116.57 | 705 | MPPT active | 7.58 | 2167 | 6.45 | 2295 | No error | 14857.51 | Off | Off | Off | Off | Off | Off | Off | 2689 | 2039 | 2 | 52.03 | 1.9 | -38.8 | 98 | -2037 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 31 | 234.5 | -2.1
2023-05-28 14:19:29 | 1 | Not active | Open | Open | Ok | 233.5 | -3.9 | 49.85 | -823 | 233.5 | 4.4 | 49.8 | 1094 | 52.29 | -38.9 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.53 | 12.1 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.29 | 32.4 | 1694 | On | On | Ext. Control | 95.61 | 1734 | Voltage or current limited | 7.58 | 1901 | 6.1 | 2164 | No error | 12021.23 | 52.28 | 21.7 | 1134 | On | On | Ext. Control | 92.46 | 1157 | Voltage or current limited | 7.59 | 2167 | 6.45 | 2295 | No error | 14857.52 | Off | Off | Off | Off | Off | Off | Off | 2829 | 1905 | -12 | 52.53 | 12.1 | -38.9 | 635 | -1917 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -13 | 234.3 | -1.7
2023-05-28 14:20:04 | 1 | Not active | Open | Open | Ok | 231.9 | -4.5 | 50.1 | -815 | 231.9 | 5.5 | 50 | 1468 | 52.36 | -47.8 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.64 | -0.8 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.37 | 30.6 | 1603 | On | On | Ext. Control | 103.61 | 1638 | Voltage or current limited | 7.59 | 1901 | 6.1 | 2164 | No error | 12021.24 | 52.35 | 20.9 | 1094 | On | On | Ext. Control | 108.51 | 1108 | Voltage or current limited | 7.6 | 2167 | 6.45 | 2295 | No error | 14857.53 | Off | Off | Off | Off | Off | Off | Off | 2697 | 2211 | -72 | 52.64 | -0.8 | -47.8 | -42 | -2283 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 4 | 233.9 | 2.5
2023-05-28 14:21:04 | 1 | Not active | Open | Open | Ok | 232.7 | -3.9 | 49.85 | -875 | 232.7 | 4.5 | 49.8 | 1119 | 52.41 | -38.2 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.71 | 0.7 | 28 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.41 | 29.2 | 1530 | On | On | Ext. Control | 105.76 | 1569 | Voltage or current limited | 7.62 | 1901 | 6.1 | 2164 | No error | 12021.27 | 52.4 | 12.6 | 660 | On | On | Ext. Control | 117.26 | 690 | Voltage or current limited | 7.61 | 2167 | 6.45 | 2295 | No error | 14857.54 | Off | Off | Off | Off | Off | Off | Off | 2191 | 2064 | 8 | 52.71 | 0.7 | -38.2 | 36 | -1994 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 33 | 233.6 | 2.1
2023-05-28 14:22:05 | 1 | Not active | Open | Open | Ok | 232.7 | -3.9 | 49.85 | -836 | 232.7 | 4.5 | 49.8 | 1097 | 52.39 | -38.5 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.7 | 0.5 | 27 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.4 | 27.5 | 1441 | On | On | Ext. Control | 107.98 | 1479 | Voltage or current limited | 7.64 | 1901 | 6.1 | 2164 | No error | 12021.29 | 52.4 | 13.6 | 713 | On | On | Ext. Control | 116.59 | 728 | Voltage or current limited | 7.62 | 2167 | 6.45 | 2295 | No error | 14857.55 | Off | Off | Off | Off | Off | Off | Off | 2154 | 1948 | 15 | 52.7 | 0.5 | -38.5 | 26 | -1933 | 100 | idle | No alarm | No alarm | OK | Grid | Grid ok | 34 | 233.8 | 1.7
2023-05-28 14:22:46 | 2 | Not active | Open | Open | Ok | 233.5 | -4.3 | 50.1 | -788 | 233.5 | 10.3 | 49.8 | 2574 | 51.48 | -72.6 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51.99 | -22 | 27 | 100 | 92 | 53.2 | 22.2 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 51.55 | 33 | 1701 | On | On | Ext. Control | 95.92 | 1728 | MPPT active | 7.66 | 1901 | 6.1 | 2164 | No error | 12021.31 | 51.52 | 21.6 | 1113 | On | On | Ext. Control | 93.06 | 1142 | MPPT active | 7.63 | 2167 | 6.45 | 2295 | No error | 14857.56 | Off | Off | Off | Off | Off | Off | Off | 2814 | 3388 | 26 | 51.99 | -21.6 | -72.6 | -1122 | -3362 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 39 | 234.3 | 2.2
2023-05-28 14:23:04 | 1 | Not active | Open | Open | Ok | 232.7 | -4.9 | 49.85 | -812 | 232.7 | 10 | 49.8 | 2610 | 51.19 | -73.2 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51.68 | -22.1 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 51.21 | 33 | 1690 | On | On | Ext. Control | 95.78 | 1723 | MPPT active | 7.67 | 1901 | 6.1 | 2164 | No error | 12021.32 | 51.24 | 22.4 | 1148 | On | On | Ext. Control | 96.99 | 1167 | MPPT active | 7.64 | 2167 | 6.45 | 2295 | No error | 14857.57 | Off | Off | Off | Off | Off | Off | Off | 2838 | 3406 | -16 | 51.68 | -22.1 | -73.2 | -1142 | -3422 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 29 | 234.2 | -2.2
2023-05-28 14:24:04 | 1 | Not active | Open | Open | Ok | 234.4 | -4.9 | 49.85 | -809 | 234.4 | 9.9 | 49.8 | 2645 | 50.49 | -73.9 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.99 | -23.2 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.49 | 33.3 | 1681 | On | On | Ext. Control | 94.08 | 1717 | MPPT active | 7.7 | 1901 | 6.1 | 2164 | No error | 12021.35 | 50.5 | 22.7 | 1146 | On | On | Ext. Control | 99.36 | 1170 | MPPT active | 7.66 | 2167 | 6.45 | 2295 | No error | 14857.59 | Off | Off | Off | Off | Off | Off | Off | 2828 | 3458 | 4 | 50.99 | -23.2 | -73.9 | -1182 | -3454 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 4 | 234.9 | 3.1
2023-05-28 14:25:04 | 0 | Not active | Open | Open | Ok | 234.4 | -3.9 | 50.1 | -793 | 234.4 | 9.9 | 49.8 | 1217 | 50.3 | -65.3 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.76 | 10.2 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.26 | 33.5 | 1684 | On | On | Ext. Control | 93.95 | 1713 | MPPT active | 7.73 | 1901 | 6.1 | 2164 | No error | 12021.38 | 50.24 | 22.6 | 1135 | On | On | Ext. Control | 99.58 | 1162 | MPPT active | 7.68 | 2167 | 6.45 | 2295 | No error | 14857.61 | Off | Off | Off | Off | Off | Off | Off | 2819 | 2271 | 261 | 50.76 | 10.2 | -65.3 | 517 | -2010 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 261 | 235.6 | 3.5
2023-05-28 14:26:06 | 0 | Not active | Open | Open | Ok | 234.4 | -5.1 | 50.1 | -854 | 234.4 | 9.5 | 50 | 2564 | 49.88 | -74.2 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.42 | -23.3 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.92 | 33.7 | 1682 | On | On | Ext. Control | 95.38 | 1710 | MPPT active | 7.76 | 1901 | 6.1 | 2164 | No error | 12021.41 | 49.93 | 22.9 | 1143 | On | On | Ext. Control | 99.1 | 1157 | MPPT active | 7.7 | 2167 | 6.45 | 2295 | No error | 14857.63 | Off | Off | Off | Off | Off | Off | Off | 2826 | 3520 | 102 | 50.42 | -23.3 | -74.2 | -1174 | -3418 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 106 | 235.6 | 3.6
2023-05-28 14:27:04 | 0 | Not active | Open | Open | Ok | 235.2 | -5.3 | 50.1 | -860 | 235.2 | 3.5 | 50 | 1205 | 50.39 | -43.1 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.62 | 8.9 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.39 | 33.2 | 1673 | On | On | Ext. Control | 95.74 | 1706 | MPPT active | 7.78 | 1901 | 6.1 | 2164 | No error | 12021.43 | 50.36 | 22.3 | 1123 | On | On | Ext. Control | 100.28 | 1152 | MPPT active | 7.72 | 2167 | 6.45 | 2295 | No error | 14857.65 | Off | Off | Off | Off | Off | Off | Off | 2801 | 2096 | 31 | 50.62 | 8.9 | -43.1 | 450 | -2065 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 15 | 235.8 | 2.9
2023-05-28 14:28:04 | 0 | Not active | Open | Open | Ok | 233.5 | -4.9 | 50.1 | -835 | 233.5 | 3.7 | 50 | 1155 | 50.62 | -41.1 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.83 | 10.5 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.61 | 32.9 | 1665 | On | On | Ext. Control | 95.39 | 1703 | MPPT active | 7.81 | 1901 | 6.1 | 2164 | No error | 12021.46 | 50.63 | 22.2 | 1124 | On | On | Ext. Control | 100.36 | 1144 | MPPT active | 7.74 | 2167 | 6.45 | 2295 | No error | 14857.67 | Off | Off | Off | Off | Off | Off | Off | 2794 | 2026 | 36 | 50.83 | 10.5 | -41.1 | 533 | -1990 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 34 | 235.4 | 2.8
2023-05-28 14:29:04 | 1 | Not active | Open | Open | Ok | 233.5 | -4.1 | 50.1 | -855 | 233.5 | 9.9 | 49.8 | 1129 | 50.4 | -70.2 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.89 | 8.8 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.37 | 33.3 | 1677 | On | On | Ext. Control | 95.18 | 1699 | MPPT active | 7.84 | 1901 | 6.1 | 2164 | No error | 12021.49 | 50.36 | 22 | 1108 | On | On | Ext. Control | 103.33 | 1135 | MPPT active | 7.75 | 2167 | 6.45 | 2295 | No error | 14857.68 | Off | Off | Off | Off | Off | Off | Off | 2779 | 2199 | 215 | 50.89 | 8.8 | -70.2 | 447 | -1984 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 93 | 234.4 | 2.9
2023-05-28 14:30:04 | 1 | Not active | Open | Open | Ok | 234.4 | -4.1 | 49.85 | -803 | 234.4 | 10.3 | 49.8 | 2569 | 49.9 | -73.9 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.44 | -23.1 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.95 | 33.2 | 1658 | On | On | Ext. Control | 93.84 | 1689 | MPPT active | 7.87 | 1901 | 6.1 | 2164 | No error | 12021.52 | 49.94 | 22.2 | 1109 | On | On | Ext. Control | 99.65 | 1129 | MPPT active | 7.77 | 2167 | 6.45 | 2295 | No error | 14857.7 | Off | Off | Off | Off | Off | Off | Off | 2755 | 3424 | 52 | 50.44 | -23.1 | -73.9 | -1165 | -3372 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | -34 | 235.4 | 2.3
2023-05-28 14:31:06 | 2 | Not active | Open | Open | Ok | 234.4 | -3.9 | 49.85 | -817 | 234.4 | 10.3 | 49.8 | 2546 | 49.66 | -73.5 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.19 | -22.7 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.68 | 33.5 | 1664 | On | On | Ext. Control | 95.46 | 1694 | MPPT active | 7.89 | 1901 | 6.1 | 2164 | No error | 12021.54 | 49.66 | 21.9 | 1088 | On | On | Ext. Control | 101.22 | 1122 | MPPT active | 7.79 | 2167 | 6.45 | 2295 | No error | 14857.72 | Off | Off | Off | Off | Off | Off | Off | 2768 | 3346 | -17 | 50.19 | -22.7 | -73.5 | -1139 | -3363 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 4 | 235.4 | -0.2
2023-05-28 14:32:04 | 0 | Not active | Open | Open | Ok | 233.5 | -3.9 | 49.85 | -830 | 233.5 | 4.3 | 49.8 | 2494 | 49.9 | -39.7 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.1 | -10.7 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.83 | 33.1 | 1649 | On | On | Ext. Control | 95.73 | 1687 | MPPT active | 7.92 | 1901 | 6.1 | 2164 | No error | 12021.57 | 49.83 | 21.9 | 1091 | On | On | Ext. Control | 102.23 | 1114 | MPPT active | 7.81 | 2167 | 6.45 | 2295 | No error | 14857.74 | Off | Off | Off | Off | Off | Off | Off | 2730 | 3316 | -8 | 50.1 | -10.7 | -39.7 | -536 | -3324 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 4 | 234.5 | -0.1
2023-05-28 14:33:04 | 0 | Not active | Open | Open | Ok | 234.4 | -4.1 | 50.1 | -836 | 234.4 | 4.4 | 49.8 | 1121 | 50.07 | -41.7 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.27 | 10.3 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.04 | 32.9 | 1646 | On | On | Ext. Control | 96.45 | 1683 | MPPT active | 7.95 | 1901 | 6.1 | 2164 | No error | 12021.6 | 50.06 | 21.8 | 1091 | On | On | Ext. Control | 101.43 | 1106 | MPPT active | 7.83 | 2167 | 6.45 | 2295 | No error | 14857.76 | Off | Off | Off | Off | Off | Off | Off | 2727 | 1964 | 7 | 50.27 | 10.3 | -41.7 | 517 | -1957 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -16 | 235.7 | 2
2023-05-28 14:34:04 | 1 | Not active | Open | Open | Ok | 234.4 | -3.9 | 50.1 | -839 | 234.4 | 3.6 | 49.8 | 1014 | 50.29 | -37.4 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.46 | 12.2 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.26 | 32.8 | 1649 | On | On | Ext. Control | 96.22 | 1682 | MPPT active | 7.98 | 1901 | 6.1 | 2164 | No error | 12021.63 | 50.27 | 21.5 | 1081 | On | On | Ext. Control | 101.65 | 1098 | MPPT active | 7.85 | 2167 | 6.45 | 2295 | No error | 14857.78 | Off | Off | Off | Off | Off | Off | Off | 2729 | 1783 | -40 | 50.46 | 12.2 | -37.4 | 615 | -1853 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -23 | 235 | -0.3
2023-05-28 14:35:04 | 1 | Not active | Open | Open | Ok | 233.5 | -3.7 | 50.1 | -748 | 233.5 | 5.2 | 49.8 | 1157 | 50.42 | -43 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.64 | 12.3 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.42 | 32.5 | 1639 | On | On | Ext. Control | 94.68 | 1676 | MPPT active | 8.01 | 1901 | 6.1 | 2164 | No error | 12021.66 | 50.41 | 21.1 | 1064 | On | On | Ext. Control | 99.68 | 1087 | MPPT active | 7.86 | 2167 | 6.45 | 2295 | No error | 14857.79 | Off | Off | Off | Off | Off | Off | Off | 2702 | 1755 | 39 | 50.64 | 12.3 | -40.1 | 622 | -1716 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 0 | 234.7 | 0.4
2023-05-28 14:36:05 | 1 | Not active | Open | Open | Ok | 234.4 | -4.1 | 50.1 | -832 | 234.4 | 9.5 | 49.8 | 2402 | 49.74 | -69.6 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.26 | -20.8 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.76 | 33.3 | 1657 | On | On | Ext. Control | 97.26 | 1680 | MPPT active | 8.03 | 1901 | 6.1 | 2164 | No error | 12021.68 | 49.75 | 21.2 | 1055 | On | On | Ext. Control | 101.69 | 1084 | MPPT active | 7.88 | 2167 | 6.45 | 2295 | No error | 14857.81 | Off | Off | Off | Off | Off | Off | Off | 2712 | 3238 | 4 | 50.26 | -20.8 | -69.6 | -1045 | -3234 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | -9 | 234.9 | -0.1
2023-05-28 14:37:04 | 0 | Not active | Open | Open | Ok | 233.5 | -3.7 | 50.1 | -780 | 233.5 | 9.5 | 49.8 | 2269 | 49.59 | -67.2 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.08 | -16.5 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.62 | 33.3 | 1652 | On | On | Ext. Control | 96.86 | 1676 | MPPT active | 8.06 | 1901 | 6.1 | 2164 | No error | 12021.71 | 49.59 | 21.2 | 1051 | On | On | Ext. Control | 100.82 | 1079 | MPPT active | 7.9 | 2167 | 6.45 | 2295 | No error | 14857.83 | Off | Off | Off | Off | Off | Off | Off | 2704 | 3097 | 48 | 50.08 | -16.5 | -67.2 | -826 | -3049 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 30 | 234.9 | 0.7
2023-05-28 14:38:04 | 0 | Not active | Open | Open | Ok | 233.5 | -3.7 | 49.85 | -838 | 233.5 | 9.5 | 49.8 | 2272 | 49.44 | -67.6 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 49.93 | -19 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.43 | 32.8 | 1621 | On | On | Ext. Control | 96.81 | 1669 | MPPT active | 8.09 | 1901 | 6.1 | 2164 | No error | 12021.74 | 49.47 | 21.4 | 1059 | On | On | Ext. Control | 101.75 | 1068 | MPPT active | 7.92 | 2167 | 6.45 | 2295 | No error | 14857.85 | Off | Off | Off | Off | Off | Off | Off | 2680 | 3110 | 0 | 49.93 | -19 | -67.6 | -948 | -3110 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 0 | 234.8 | -0.7
2023-05-28 14:39:04 | 1 | Not active | Open | Open | Ok | 233.5 | -4.5 | 50.1 | -765 | 233.5 | 3.5 | 49.8 | 880 | 49.9 | -39.4 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.11 | 15.1 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.92 | 32.4 | 1617 | On | On | Ext. Control | 96.48 | 1663 | MPPT active | 8.12 | 1901 | 6.1 | 2164 | No error | 12021.77 | 49.92 | 20.8 | 1038 | On | On | Ext. Control | 101.99 | 1061 | MPPT active | 7.93 | 2167 | 6.45 | 2295 | No error | 14857.86 | Off | Off | Off | Off | Off | Off | Off | 2656 | 1625 | -20 | 50.11 | 15.1 | -39.4 | 756 | -1645 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -20 | 234.6 | 0.8
2023-05-28 14:40:04 | 1 | Not active | Open | Open | Ok | 233.5 | -4.5 | 50.1 | -806 | 233.5 | 3.3 | 49.8 | 866 | 50.04 | -37.3 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.27 | 14.4 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.03 | 32.3 | 1616 | On | On | Ext. Control | 95.72 | 1657 | MPPT active | 8.14 | 1901 | 6.1 | 2164 | No error | 12021.79 | 50.04 | 20.5 | 1026 | On | On | Ext. Control | 101.68 | 1052 | MPPT active | 7.95 | 2167 | 6.45 | 2295 | No error | 14857.88 | Off | Off | Off | Off | Off | Off | Off | 2642 | 1685 | 13 | 50.27 | 14.4 | -37.3 | 723 | -1672 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 13 | 234.9 | 0
2023-05-28 14:41:04 | 1 | Not active | Open | Open | Ok | 232.7 | -4.5 | 50.1 | -756 | 232.7 | 3.4 | 49.8 | 978 | 50.2 | -37.8 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.38 | 13.7 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.2 | 32.5 | 1632 | On | On | Ext. Control | 96.96 | 1659 | MPPT active | 8.17 | 1901 | 6.1 | 2164 | No error | 12021.82 | 50.2 | 20.6 | 1034 | On | On | Ext. Control | 101.14 | 1048 | MPPT active | 7.97 | 2167 | 6.45 | 2295 | No error | 14857.9 | Off | Off | Off | Off | Off | Off | Off | 2655 | 1743 | 9 | 50.38 | 13.7 | -37.8 | 690 | -1734 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 65 | 235.1 | 2.6
2023-05-28 14:42:04 | 0 | Not active | Open | Open | Ok | 235.2 | -4.3 | 50.1 | -781 | 235.2 | 3.3 | 49.8 | 864 | 50.36 | -36.4 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.56 | 13.8 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.37 | 32.2 | 1622 | On | On | Ext. Control | 98.67 | 1652 | MPPT active | 8.2 | 1901 | 6.1 | 2164 | No error | 12021.85 | 50.39 | 20.1 | 1013 | On | On | Ext. Control | 99.57 | 1031 | MPPT active | 7.99 | 2167 | 6.45 | 2295 | No error | 14857.92 | Off | Off | Off | Off | Off | Off | Off | 2629 | 1631 | -14 | 50.56 | 13.8 | -36.4 | 697 | -1645 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 0 | 236.1 | 2.5
2023-05-28 14:43:04 | 0 | Not active | Open | Open | Ok | 235.2 | -4.1 | 49.85 | -811 | 235.2 | 3.3 | 49.8 | 940 | 50.56 | -35.5 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.77 | 13.2 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.59 | 32.1 | 1624 | On | On | Ext. Control | 95.82 | 1648 | MPPT active | 8.22 | 1901 | 6.1 | 2164 | No error | 12021.87 | 50.57 | 19.8 | 1001 | On | On | Ext. Control | 101.48 | 1028 | MPPT active | 8 | 2167 | 6.45 | 2295 | No error | 14857.93 | Off | Off | Off | Off | Off | Off | Off | 2626 | 1588 | -18 | 50.77 | 13.2 | -37.3 | 670 | -1606 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 27 | 235.9 | 2.5
2023-05-28 14:44:04 | 1 | Not active | Open | Open | Ok | 234.4 | -4.5 | 49.85 | -853 | 234.4 | 8.9 | 49.8 | 2397 | 50.31 | -70.5 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.85 | -21.9 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.38 | 32 | 1612 | On | On | Ext. Control | 94.17 | 1636 | MPPT active | 8.25 | 1901 | 6.1 | 2164 | No error | 12021.9 | 50.37 | 19.6 | 987 | On | On | Ext. Control | 98.66 | 1005 | MPPT active | 8.02 | 2167 | 6.45 | 2295 | No error | 14857.95 | Off | Off | Off | Off | Off | Off | Off | 2583 | 3242 | -8 | 50.85 | -21.9 | -70.5 | -1113 | -3250 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 159 | 235.8 | -2.4
2023-05-28 14:45:04 | 1 | Not active | Open | Open | Ok | 235.2 | -1.8 | 49.85 | -100 | 235.2 | 16.9 | 49.7 | 4245 | 49.5 | -98.8 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.25 | -51.2 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.56 | 32.7 | 1621 | On | On | Ext. Control | 96.46 | 1638 | MPPT active | 8.28 | 1901 | 6.1 | 2164 | No error | 12021.93 | 49.51 | 19.7 | 975 | On | On | Ext. Control | 100.94 | 1007 | MPPT active | 8.04 | 2167 | 6.45 | 2295 | No error | 14857.97 | Off | Off | Off | Off | Off | Off | Off | 2601 | 4378 | 33 | 50.25 | -51.2 | -98.8 | -2572 | -4345 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 41 | 235.9 | 0.2
2023-05-28 14:46:04 | 0 | Not active | Open | Open | Ok | 235.2 | 2.2 | 49.85 | 5 | 235.2 | 20.4 | 49.8 | 4237 | 48.97 | -96.1 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 49.77 | -49.1 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 49.01 | 32.8 | 1608 | On | On | Ext. Control | 94.74 | 1632 | MPPT active | 8.31 | 1901 | 6.1 | 2164 | No error | 12021.96 | 49 | 20 | 980 | On | On | Ext. Control | 98.36 | 987 | MPPT active | 8.05 | 2167 | 6.45 | 2295 | No error | 14857.98 | Off | Off | Off | Off | Off | Off | Off | 2537 | 4282 | 40 | 49.77 | -49.1 | -96.3 | -2443 | -4242 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 61 | 235.7 | 0.3
2023-05-28 14:47:04 | 0 | Not active | Open | Open | Ok | 236 | -1.4 | 50.1 | -19 | 236 | 2.5 | 49.8 | 800 | 50.26 | -17.3 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.28 | 31.7 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.23 | 31.7 | 1592 | On | On | Ext. Control | 95.81 | 1630 | MPPT active | 8.33 | 1901 | 6.1 | 2164 | No error | 12021.98 | 50.23 | 19.3 | 969 | On | On | Ext. Control | 100.8 | 992 | MPPT active | 8.07 | 2167 | 6.45 | 2295 | No error | 14858 | Off | Off | Off | Off | Off | Off | Off | 2567 | 931 | 112 | 50.28 | 31.7 | -17.3 | 1593 | -819 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 10 | 237.1 | 0.5
2023-05-28 14:48:04 | 1 | Not active | Open | Open | Ok | 236.9 | 1.8 | 50.1 | -3 | 236.9 | 5.9 | 50 | 829 | 50.62 | -18.8 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.66 | 30.8 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.62 | 31.5 | 1595 | On | On | Ext. Control | 97.36 | 1627 | MPPT active | 8.36 | 1901 | 6.1 | 2164 | No error | 12022.01 | 50.62 | 19.1 | 967 | On | On | Ext. Control | 102.09 | 985 | MPPT active | 8.09 | 2167 | 6.45 | 2295 | No error | 14858.02 | Off | Off | Off | Off | Off | Off | Off | 2567 | 860 | 41 | 50.66 | 30.8 | -17.3 | 1560 | -819 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 62 | 237.5 | 0.2
2023-05-28 14:49:04 | 1 | Not active | Open | Open | Ok | 236.9 | -1.2 | 50.1 | 29 | 236.9 | 3 | 50 | 1097 | 51.09 | -21.8 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51.16 | 25.4 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 51.07 | 31.2 | 1593 | On | On | Ext. Control | 96.2 | 1622 | MPPT active | 8.39 | 1901 | 6.1 | 2164 | No error | 12022.04 | 51.07 | 18.8 | 960 | On | On | Ext. Control | 102.07 | 978 | MPPT active | 8.1 | 2167 | 6.45 | 2295 | No error | 14858.03 | Off | Off | Off | Off | Off | Off | Off | 2553 | 1097 | -15 | 51.16 | 25.4 | -21.8 | 1299 | -1068 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -35 | 237.4 | -0.3
2023-05-28 14:50:04 | 1 | Not active | Open | Open | Ok | 236 | -1.4 | 50.1 | -95 | 236 | 11.9 | 50 | 2983 | 50.94 | -67.3 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51.41 | -21.9 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 51 | 31 | 1581 | On | On | Ext. Control | 95.88 | 1614 | MPPT active | 8.41 | 1901 | 6.1 | 2164 | No error | 12022.06 | 51.03 | 18.7 | 954 | On | On | Ext. Control | 104.15 | 966 | MPPT active | 8.12 | 2167 | 6.45 | 2295 | No error | 14858.05 | Off | Off | Off | Off | Off | Off | Off | 2535 | 2983 | -161 | 51.41 | -21.9 | -67.3 | -1125 | -3078 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | -88 | 236.6 | -0.8
2023-05-28 14:51:04 | 0 | Not active | Open | Open | Ok | 235.2 | -1.2 | 50.1 | 30 | 235.2 | 11.2 | 49.8 | 2939 | 50.42 | -62.9 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.87 | -16.5 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.43 | 31.2 | 1573 | On | On | Ext. Control | 97.98 | 1611 | MPPT active | 8.44 | 1901 | 6.1 | 2164 | No error | 12022.09 | 50.44 | 18.6 | 938 | On | On | Ext. Control | 103.59 | 956 | MPPT active | 8.13 | 2167 | 6.45 | 2295 | No error | 14858.06 | Off | Off | Off | Off | Off | Off | Off | 2512 | 2939 | 23 | 50.87 | -16.5 | -62.9 | -839 | -2909 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | 32 | 236.7 | 0.3
2023-05-28 14:51:13 | 1 | Not active | Open | Open | Ok | 235.2 | -1.4 | 50.1 | 8 | 235.2 | 11.1 | 49.8 | 2940 | 50.36 | -63.1 | AC Input 1 | 50 | Inverting | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.86 | -17.2 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.38 | 31.1 | 1567 | On | On | Ext. Control | 97.13 | 1609 | MPPT active | 8.44 | 1901 | 6.1 | 2164 | No error | 12022.09 | 50.37 | 18.6 | 937 | On | On | Ext. Control | 102.44 | 957 | MPPT active | 8.14 | 2167 | 6.45 | 2295 | No error | 14858.07 | Off | Off | Off | Off | Off | Off | Off | 2524 | 2968 | 36 | 50.86 | -17.2 | -63.1 | -874 | -2932 | 100 | discharging | No alarm | No alarm | OK | Grid | Grid ok | -30 | 236.4 | 0.3
2023-05-28 14:51:15 | 2 | Not active | Open | Open | Ok | 236 | 0 | 50.1 | -28 | 230.3 | 12.6 | 49.8 | 2923 | 50.38 | -60.5 | Disconnected | 50 | Inverting | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 50.8 | -16.1 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.38 | 31.3 | 1577 | On | On | Ext. Control | 97.16 | 1610 | MPPT active | 8.44 | 1901 | 6.1 | 2164 | No error | 12022.09 | 50.39 | 18.7 | 942 | On | On | Ext. Control | 104.31 | 954 | MPPT active | 8.14 | 2167 | 6.45 | 2295 | No error | 14858.07 | Off | Off | Off | Off | Off | Off | Off | 2519 | 2952 | 29 | 50.8 | -16.1 | -60.5 | -817 | -2951 | 100 | discharging | No alarm | No alarm | OK | Inverting | Grid ok | 29 | 236.4 | 0.3
2023-05-28 14:51:31 | 1 | Not active | Open | Open | Ok | 236 | 1.2 | 50.1 | 0 | 236 | 4.6 | 50 | 912 | 51.01 | -20.2 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51 | 28.4 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.91 | 31.1 | 1583 | On | On | Ext. Control | 99.05 | 1609 | MPPT active | 8.45 | 1901 | 6.1 | 2164 | No error | 12022.1 | 50.96 | 18.4 | 938 | On | On | Ext. Control | 100.56 | 955 | MPPT active | 8.14 | 2167 | 6.45 | 2295 | No error | 14858.07 | Off | Off | Off | Off | Off | Off | Off | 2521 | 1292 | 29 | 51 | 28.4 | -18.9 | 1448 | -1263 | 100 | charging | No alarm | No alarm | OK | Inverting | Grid ok | 29 | 236.7 | 0.3
2023-05-28 14:51:32 | 0 | Not active | Open | Open | Ok | 236 | 1.2 | 50.1 | 0 | 236 | 4.6 | 50 | 912 | 51.01 | -20.2 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51 | 28.4 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 50.95 | 31 | 1579 | On | On | Ext. Control | 99.45 | 1607 | MPPT active | 8.45 | 1901 | 6.1 | 2164 | No error | 12022.1 | 50.94 | 18.1 | 922 | On | On | Ext. Control | 101.41 | 952 | MPPT active | 8.14 | 2167 | 6.45 | 2295 | No error | 14858.07 | Off | Off | Off | Off | Off | Off | Off | 2501 | 941 | 29 | 51 | 28.4 | -20.2 | 1448 | -912 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 29 | 236.7 | 0.3
2023-05-28 14:52:04 | 1 | Not active | Open | Open | Ok | 236 | -1 | 50.1 | -14 | 236 | 3 | 50 | 928 | 51.37 | -19.1 | AC Input 1 | 50 | Bulk | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Bulk | 51.48 | 27.1 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 51.4 | 30.7 | 1578 | On | On | Ext. Control | 97.3 | 1608 | MPPT active | 8.47 | 1901 | 6.1 | 2164 | No error | 12022.12 | 51.4 | 18.2 | 935 | On | On | Ext. Control | 103.36 | 950 | MPPT active | 8.15 | 2167 | 6.45 | 2295 | No error | 14858.08 | Off | Off | Off | Off | Off | Off | Off | 2513 | 946 | 4 | 51.48 | 27.1 | -19.1 | 1395 | -942 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 9 | 236.7 | 0.1
2023-05-28 14:52:51 | 3 | Not active | Open | Open | Ok | 236.9 | -1 | 50.1 | -25 | 236.9 | 3 | 50 | 928 | 52.32 | -18.2 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.43 | 26.3 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.34 | 29.9 | 1565 | On | On | Ext. Control | 95.74 | 1598 | Voltage or current limited | 8.49 | 1901 | 6.1 | 2164 | No error | 12022.14 | 52.37 | 17.6 | 922 | On | On | Ext. Control | 101.75 | 942 | Voltage or current limited | 8.16 | 2167 | 6.45 | 2295 | No error | 14858.09 | Off | Off | Off | Off | Off | Off | Off | 2486 | 956 | 2 | 52.43 | 26.3 | -18.2 | 1378 | -953 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | 3 | 237.1 | -0.1
2023-05-28 14:53:04 | 0 | Not active | Open | Open | Ok | 236 | -1 | 50.1 | -5 | 236 | 3.1 | 50.1 | 917 | 52.44 | -19.4 | AC Input 1 | 50 | Absorption | No error | On | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Absorption | 52.64 | 14 | 27 | 100 | 92 | 53.2 | 44.4 | 111 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | 52.39 | 22.9 | 1200 | On | On | Ext. Control | 111.65 | 1243 | Voltage or current limited | 8.49 | 1901 | 6.1 | 2164 | No error | 12022.14 | 52.39 | 9.7 | 508 | On | On | Ext. Control | 119.16 | 518 | Voltage or current limited | 8.16 | 2167 | 6.45 | 2295 | No error | 14858.09 | Off | Off | Off | Off | Off | Off | Off | 1708 | 917 | -14 | 52.64 | 14 | -19.4 | 736 | -922 | 100 | charging | No alarm | No alarm | OK | Grid | Grid ok | -14 | 237.2 | 0.2